LIMITED ROOF REPAIR SCOPE

Roof Repair Scope of Work Template

Define the repair area, observed condition, diagnostic limits, materials, exclusions, and closeout

How to use: Replace every prompt with project-specific facts. Remove instructional text before customer use and obtain qualified local review for required notices and terms.

# Repair location and evidence

| Field | Project-specific entry |
| --- | --- |
| Customer / property | Customer, property address, contact, and service date ________________________________________________________________ |
| Repair area | Structure, roof plane, penetration, seam, valley, edge, or measured work zone ________________________________________________________________ |
| Observed condition | Visible condition separated from suspected or unverified causes ________________________________________________________________ |
| Photo / note references | Numbered inspection photos, moisture notes, measurements, and attachments ________________________________________________________________ |

# Included repair work

| Field | Project-specific entry |
| --- | --- |
| Diagnostic access | Materials or areas that may be opened, tested, or removed within the approved scope ________________________________________________________________ |
| Removal / preparation | Existing materials removed and substrate preparation included ________________________________________________________________ |
| Installation | Underlayment, covering, flashing, fasteners, sealant, accessories, and application details ________________________________________________________________ |
| Material matching | Selected product, color, weathering limitations, and approved closest available match ________________________________________________________________ |

# Limits, changes, and closeout

| Field | Project-specific entry |
| --- | --- |
| Concealed conditions | Decking or wider damage allowance, unit price, photo record, and authorization process ________________________________________________________________ |
| Exclusions | Interior, structural, mold, hazardous-material, unrelated leak, or out-of-area work not included ________________________________________________________________ |
| Stop-work trigger | Conditions that require a revised estimate or written change order ________________________________________________________________ |
| Closeout | Debris removal, before-and-after photos, materials used, completion notes, and customer notice ________________________________________________________________ |

## Example wording

At the north plumbing vent, remove shingles as needed within the approved repair area, remove the split boot, inspect the exposed substrate, install a compatible replacement boot and underlayment patch, reinstall matching shingles where available, and document the completed repair. Concealed decking damage and conditions outside the opened area are excluded; stop and obtain written approval before added billable work.

## Final review

Confirm party names, property, scope, measurements, products, prices, dates, attachments, approvals, local notices, and professional review before use. RooferForms supplies a drafting aid only.